## Table 1
Alabama Department of Environmental Management Water Treatment and Distribution System Classification Worksheet for Operator Certification
Criteria for Classifying Water Treatment Systems (ADEM Admin. Code R. 335-10-1-.06)
Fill out one form for each utility treatment plant and/or distribution system as they as both are associated with the same permit number. Do not enter information in shaded boxes.
Date:
Permitee:
Facility |  | Plant Name
PWSID #
Street Name
City/State/Zip
Plant/System Superintendent or Chief Operator Completing Form |  | Name
Title
Operator Number
Phone
Email
Narrative Description of Plant
Population Served by Distribution System
Grade of Distribution System |  |  | Grade ID
Grade of Treatment Plant based on ranking |  |  | Grade I
Water Distribution System Classification |  |  |  | based on population
Grade ID |  |  |  | 1 to 15,000
Grade IID |  |  |  | 15,001 or greater
WT Classification |  |  |  | based on following point system
Grade I |  |  |  | 24 points or less
Grade II |  |  |  | 25 – 49 points
Grade III |  |  |  | 50 – 74 points
Grade IV |  |  |  | 75 points and greater
Item |  |  |  |  | Points | Your Plant | Can write notes or comments below:
Size (1 point minimum to 20 point maximum)
Average daily design flow (1 point per 0.5 MGD. Round up.) Design flow: Consider this to be the design capacity of the plant. Examples: 9.2 MGD = 19 points; 4.7 MGD = 10 points |  |  |  |  | 1 - 20
Water Supply Sources (General source water type)
Seawater/Brackish or Elevated brine level requiring treatment (surface or groundwater) |  |  |  |  | 5
Groundwater |  |  |  |  | 0
Groundwater under direct influence of surface water (GWUDI) |  |  |  |  | 8
Surface Water |  |  |  |  | 10
Average Raw Water Quality Variation (0 to 10 points maximum). Applies to all sources (surface and groundwater) regardless of treatment technology. Key issue is whether treatment process changes are necessary to achieve optimized treatment performance. (Choose only the highest point item applicable below)
Little or no variation – no treatment provided except disinfection |  |  |  |  | 0
Minor variation – e.g., “high quality” groundwater source appropriate for basic pressure filtration or slow sand filtration [This item not applicable to surface water sources] |  |  |  |  | 1
Raw water average turbidity ≤ 5.0 NTU (2 points), average turbidity 5.1 - 10.0 NTU (3 points), average turbidity 10.1 - 25.0 NTU (4 points)1 |  |  |  |  | 2-4
Raw water average turbidity 25.0 - 50.0 NTU or maximum annual turbidity exceeds 100 NTU1 |  |  |  |  | 5
Severe variation – source subject to non-point discharges, agricultural/urban storm runoff, flooding, and/or raw water average turbidity ≥ 50.0 NTU and/or max annual turbidity exceeds 150 NTU1 |  |  |  |  | 7
Raw water quality subject to agricultural or municipal waste point discharges or TOC ≥ 3.0 mg/L |  |  |  |  | 8
Raw water quality subject to industrial waste pollution or TOC ≥ 6.0 mg/L |  |  |  |  | 10
For any filtration plant that has no change in treatment due to source water quality changes, even if a source well is under the influence |  |  |  |  | 0
Raw water is subject to (Select all that apply)
Taste and/or odor concerns for which treatment process adjustments are made at least seasonally2 |  |  |  |  | 2
True Color > 15 CU (not due to precipitated metals) |  |  |  |  | 3
Iron and/or manganese in raw water > Secondary MCL: Fe (2 points), Mn (3 points) (3 points maximum allowed)2 |  |  |  |  | 2 – 3
Algal growth for which treatment process adjustments are made at least seasonally2 |  |  |  |  | 3
Chemical Treatment/Additional Processes (Select all that apply)
Fluoridation |  |  |  |  | 4
Pre-chlorination or pre-disinfection. 2 points per location. (e.g., if feeding chlorine prior to flocculation and at top of filter would be 4 points if not addressed below.) |  |  |  |  | 2, 4, 6, etc
pH adjustment for process control (e.g., soda ash, CO2, or other carbonate or hydroxide addition for pH adjustment to aid in coagulation, other than lime-soda softening) |  |  |  |  | 4
Stability or Corrosion Control (If the same chemical is used for both Corrosion control and pH adjustment, count points only once), unless the chemical is added at two locations |  |  |  |  | 4
Lime-soda ash softening (includes: chemical addition, mixing/flocculation/clarification/filtration – do not add points for these process separately) |  |  |  |  | 22
Disinfection/Oxidation (Select all that apply)
Chlorination using Liquid Hypochlorite |  |  |  |  | 5
Hypochlorite disinfection via on-site hypochlorite generation |  |  |  |  | 7
Chlorine gas |  |  |  |  | 8
Chloramination |  |  |  |  | 10
Chlorine dioxide |  |  |  |  | 10
Ozonation |  |  |  |  | 10
UV Disinfection |  |  |  |  | 10
Iodine, Peroxide, or other disinfection |  |  |  |  | 5
Potassium permanganate (without greensand filtration) for Fe/Mn removal |  |  |  |  | 4
Coagulation/Flocculation & Filter Aid (Select all that apply, but do not count if part of Lime-Soda Softening process above)
Primary coagulant addition (e.g., alum addition in flash mix tank) |  |  |  |  | 6
Coagulant aid/Flocculant chemical addition (in addition to primary coagulant use). (2 points per chemical addition location) |  |  |  |  | 2, 4, 6, etc
Flocculation (2 points per flocculation process) |  |  |  |  | 2, 4, 6, etc
Filter aid addition (Non-ionic/anionic polymers) |  |  |  |  | 2
Clarification/Sedimentation/Separation (Select all that apply, but do not count if part of Lime-Soda Softening process above)
Cyclone Separator |  |  |  |  | 4
Gravity Sedimentation (plain, tube, lamella plate) |  |  |  |  | 4
Contact/Contact adsorption |  |  |  |  | 8
Other clarification processes (e.g., dissolved air flotation, high rate ballasted clarification; Include these points in addition to above points for chemical addition and gravity sedimentation) |  |  |  |  | 8
Upflow clarification (“sludge blanket clarifier”)3 |  |  |  |  | 10
Filtration (Select all that apply, but do not count if part of Lime-Soda Softening process above)
Single or Multi-media Rapid Sand filtration (Surface water/GWUI) ≤ 4 gpm/sq ft (do not count if addressed in Other Treatment Processes below) |  |  |  |  | 10
Single or Multi-media Rapid Sand filtration (Surface water/GWUI) > 4 gpm/sq ft (do not count if addressed in Other Treatment Processes below) |  |  |  |  | 14
Greensand filtration (single or multi-media) |  |  |  |  | 8
Membrane filtration - For compliance with a primary regulation or health advisory (14 points) - For compliance with a secondary regulation (6 points) |  |  |  |  | 6 or 14
Diatomaceous earth (pre-coat filtration) |  |  |  |  | 10
Pre-filtration (staged cartridges, pressure sand w/o coagulation, etc.): Includes pre-filter/screen for membrane filtration |  |  |  |  | 3
Cartridge/bag filter not addressed above |  |  |  |  | 5
Slow sand filter |  |  |  |  | 8
Other Treatment Processes
Aeration for Fe/Mn removal |  |  |  |  | 2
Air stripping (including diffused air, packed tower aeration) |  |  |  |  | 4
Ion-exchange/softening |  |  |  |  | 5
Backwashable multi-media pre-filtration (e.g., if prior to membrane filtration) |  |  |  |  | 8
Granular activated carbon filter (do not assign points when included as a bed layer in another filter mentioned above) |  |  |  |  | 5
Powered activated carbon |  |  |  |  | 2
Blending sources with significantly different water quality to achieve MCL compliance and/or for aesthetic reasons |  |  |  |  | 4
Reservoir management employing chemical addition other than for algae control |  |  |  |  | 2
Electrodialysis |  |  |  |  | 15
Residuals Disposal (Choose only one)
Discharge directly to sewer, even if to a holding basin or tank prior to discharge |  |  |  |  | 0
On-site disposal, land application, no direct discharge |  |  |  |  | 2
Discharge to lagoon/drying bed, with no recovery/recycle – e.g. basic NPDES Permit outfall |  |  |  |  | 3
Backwash recovery/recycling: discharge to basin or lagoon and then to plant intake |  |  |  |  | 3
Mechanical dewatering |  |  |  |  | 4
Facility Characteristics
Instrumentation – Use of SCADA or similar instrumentation systems to provide data, with: (choose only one)
Monitoring/alarm only, no process operation – plant has no automated shutdown capability |  |  |  |  | 0
Limited process operation – e.g. remote shutdown capability |  |  |  |  | 1
Moderate process operation – alarms and shutdown, plus partial remote operation of plant |  |  |  |  | 2
Extensive or total process operation – alarms and shutdown, full remote operation of plant possible |  |  |  |  | 4
|  |  | Points Tally From Above |  |  | 0
|  |  | Classification based on 335-10-1-.06 |  |  | Grade I
Note 1:
Avergage Turbidity = average of raw water turbidity for the prior 12-month calendar period
Note 2:
Raw water quality is subject to:
- Taste and/or odor for which treatment process adjustments are made (2 points): 1) T&O issue has been identified in a pre-design report; 2) a process has been installed to address T&O; or 3) operational control adjustments are made at least seasonally to address T&O. Do not give points for T&O when there is no specific additional impact on operation. (e.g., if a system is already prechlorinating for disinfection, give no points for T&O.)
- Iron and/or manganese > Secondary MCL: Fe (2 points), Mn (3 points) (3 points maximum allowed) with following exceptions. Iron and manganese levels will be considered elevated in raw water and points assigned if either parameter is greater than the Secondary MCL.
- Algal growths for which treatment process adjustments are routinely made (3 points): Raw water will be considered subject to algae growths when treatment processes are specifically adjusted due to the presence of high levels of algae on at least a weekly basis for at least two months each year.
Note 3:
Upflow clarification ("sludge blanket clarifier") = 8 points. Also known as sludge blanket clarification. Includes such proprietaqry units as Super-Pulsator. These units include process for flocculation and sedimentation. Note that these clarifiers are not the same as adsorption clarifiers.